## Bill of Material
Material Number | Manufacturer | Catalog | SAP | Description | Order By | Required Hardware | Length
| Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
| Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
| Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
| Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
1 | ABB | MB1113DTTMH5KBN4 | P.O. 3200303910 | Vacuum Circuit Breaker, 3 Phase, 60 HZ, 15KV, 1200A, 20KA, 110KV BIL, 125VDC Trip, 120V Heater, Non-Relayed, with 6-1000-5A MRBTCT's Type RMAG | Engineer
1 | ABB | MB1113DTTMH5KBN4 | P.O. 3200303910 | Vacuum Circuit Breaker, 3 Phase, 60 HZ, 15KV, 1200A, 20KA, 110KV BIL, 125VDC Trip, 120V Heater, Non-Relayed, with 6-1000-5A MRBTCT's Type RMAG | Engineer
1 | ABB | MB1113DTTMH5KBN4 | P.O. 3200303910 | Vacuum Circuit Breaker, 3 Phase, 60 HZ, 15KV, 1200A, 20KA, 110KV BIL, 125VDC Trip, 120V Heater, Non-Relayed, with 6-1000-5A MRBTCT's Type RMAG | Engineer
2 | G.E. | #33D5333 | P.O. 3200308615 | Voltage Regulator, Single Phase, 60HZ, 7620V, 333KVA, 437A, 95KV BIL, with Adjustable Sub-Base, Step Type VR-1 | Engineer
2 | G.E. | #33D5333 | P.O. 3200308615 | Voltage Regulator, Single Phase, 60HZ, 7620V, 333KVA, 437A, 95KV BIL, with Adjustable Sub-Base, Step Type VR-1 | Engineer
2 | G.E. | #33D5333 | P.O. 3200308615 | Voltage Regulator, Single Phase, 60HZ, 7620V, 333KVA, 437A, 95KV BIL, with Adjustable Sub-Base, Step Type VR-1 | Engineer
2 | G.E. | #33D5333 | P.O. 3200308615 | Voltage Regulator, Single Phase, 60HZ, 7620V, 333KVA, 437A, 95KV BIL, with Adjustable Sub-Base, Step Type VR-1 | Engineer
2 | G.E. | #33D5333 | P.O. 3200308615 | Voltage Regulator, Single Phase, 60HZ, 7620V, 333KVA, 437A, 95KV BIL, with Adjustable Sub-Base, Step Type VR-1 | Engineer
2 | G.E. | #33D5333 | P.O. 3200308615 | Voltage Regulator, Single Phase, 60HZ, 7620V, 333KVA, 437A, 95KV BIL, with Adjustable Sub-Base, Step Type VR-1 | Engineer
17 | Victor | 1753 | 9312013 | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post Gray, 3" B.C., TR-210, Standard Strength | REQ | 1/2" - 13 UNC Bolt Package
17 | Victor | 1753 | 9312013 | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post Gray, 3" B.C., TR-210, Standard Strength | REQ | 1/2" - 13 UNC Bolt Package
17 | Victor | 1753 | 9312013 | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post Gray, 3" B.C., TR-210, Standard Strength | REQ | 1/2" - 13 UNC Bolt Package
17 | Victor | 1753 | 9312013 | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post Gray, 3" B.C., TR-210, Standard Strength | REQ | 1/2" - 13 UNC Bolt Package
17 | Victor | 1753 | 9312013 | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post Gray, 3" B.C., TR-210, Standard Strength | REQ | 1/2" - 13 UNC Bolt Package
17 | Victor | 1753 | 9312013 | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post Gray, 3" B.C., TR-210, Standard Strength | REQ | 1/2" - 13 UNC Bolt Package
17 | Victor | 1753 | 9312013 | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post Gray, 3" B.C., TR-210, Standard Strength | REQ | 1/2" - 13 UNC Bolt Package
17 | Victor | 1753 | 9312013 | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post Gray, 3" B.C., TR-210, Standard Strength | REQ | 1/2" - 13 UNC Bolt Package
17 | Victor | 1753 | 9312013 | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post Gray, 3" B.C., TR-210, Standard Strength | REQ | 1/2" - 13 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
18 | Victor | 1447 |  | Bus Support Insulator, 34.5KV, 200KV BIL, Station Post, Gray, 5" B.C., Solid Core Porcelain, Extra-High, Strength | REQ | 5/8"-11 UNC Bolt Package
20A | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 10'-0" Section, Painted Red
20A | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 10'-0" Section, Painted Red
20A | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 10'-0" Section, Painted Red
20A | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 10'-0" Section, Painted Red
20A | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 10'-0" Section, Painted Red
20A | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 10'-0" Section, Painted Red
20B | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 13'-6" Section, Painted Red
20B | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 13'-6" Section, Painted Red
20B | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 13'-6" Section, Painted Red
20B | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 13'-6" Section, Painted Red
20B | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 13'-6" Section, Painted Red
20B | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 13'-6" Section, Painted Red
20C | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 20'-0" Section, Painted Red
20C | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 20'-0" Section, Painted Red
20C | Pierce Alumnum | Drawing #519729 |  | Integral Web Channel Bus, 6"x6" Alum., 6101-T6 Alloy 20'-0" Section, Painted Red
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
26 | Southwire | Marigold | 9302829 | Cable, 1113KCM, 61 STR. AAC Bare
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt Package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt Package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt Package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt Package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt Package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt Package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt Package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt Package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt package
37 | SEFCOR | WFC2-90-37-4B275 |  | Weldment Terminal Connector, Alum., For 2-1113KCM, 61 STR. AAC to 4" - 4 Hole, 90 Degree Pad, Custom Drilled 2 3/4" x 2 3/4" | REQ | 1/2" - 13 UNC Bolt Package